Risk Assessment

Basic risk assessment for a HMO (red text is an example, delete red text and enter the relevent information) that maybe subject to mandatory licensing or a house or small block with shared common parts. The example is not exhaustive and is intended to give the responsible person an idea of what a fire risk assessment could look like.

| Risk Assessment - Record of significant findings |
| --- |
| Risk assessment for Building: 1 New Road No town London W1 1TW | Assessment undertaken by Date: 20 09 2019 Completed by: John Smith Signature: J Smith |
| Sheet number Floor/area: Three storey detached house, with 7 bedrooms, bathroom, WC, & kitchen | Use: Residential property occupied by 7 individuals. |
| Step 1 - Identify fire hazards |
| Sources of ignition Cooking Smoking materials Electrical Installation Gas Installation Candies | Sources of fuel Furniture Floor & wall coverings Polystyrene ceiling tiles Accumulation of junk mail | Sources of oxygen None other than naturally occurring |
| Step 2 - People at risk |
| Residents and visitors to the property |
| Step 3 - Evaluate, remove, reduce and protect from risk |
| What is the risk? Who is at risk? Action taken to remove and reduce the hazards that may cause a fire Action taken to remove and reduce the risk to people from a fire | Risk from cooking higher than single family home as each resident cooks independently. Smoking permitted in the house Fire can spread throughout the property and all tenants and guests at risk, particularly at night when asleep. Smoking banned within the property Candles banned within the property Junk mail re-cycled Polystyrene ceiling tiles removed and replaced Electrical Installation tested for safety Gas Installation tested for safety Furniture replaced to comply with fire regulations where necessary AFD Grade A LD2 installed Tenants told how to use fire blanket in kitchen and extinguishers. Tenants informed not to interfere with self closers on doors. 3 self closers adjusted so doors close properly |
| Assessment review Assessment/ review date | Completed by | Signature |